## Slide 1: Child Care Sanitation School Based Centers
Carissa Moore, REHS
carissa.moore@dhhs.nc.gov
Children’s Environmental Health Branch
Notes: 1

## Slide 2: Child Care Sanitation School Based
June 2011
The administration of NC’s More at Four Pre-Kindergarten program was transferred from the Dept. of Public Instruction to the NCDHHS – Division of Child Development and Early Education (DCDEE).
Notes: 2

## Slide 3: School-Based Centers
Which classrooms require a CCC Sanitation Inspection?
All preschool education programs and school aged programs that are licensed by DCDEE
Notes: 3

## Slide 4: School-Based Centers
Inspection Protocol
  Unique Areas of Concern
    Lead
    Restrooms
    Flow of children in the facility
    Hot water concerns
    Bulk Food Storage in classroom
    Privacy issues with special needs children
Notes: 4

## Slide 5: School Based Centers
Inspection Protocol
  Designated floor plan diagram
  Initial Site Visit
  Lead Hazards?
  Accessible areas -vs- inspected areas
Notes: 5

## Slide 6: School Based Centers
Designated Floor Plan Diagram
  Designated areas on the floor plan diagram indicate what areas are to be inspected for sanitation purposes.
  Floor plans can either be:
    DCDEE developed form
    On a diagram drawn by the CC provider. – Must have written name and signature or initials of licensing consultant
    Copy of plan to be kept at local Health Department
Notes: 6

## Slide 7: School Based Centers
Site Visits
  Initial site visit
    Most Pre-K programs already in existence.
    Determine Licensed space approved by DCDEE
    Determine accessible areas -vs- inspection areas
Notes: 7

## Slide 8: School Based Centers
Site Visits
  Why inspect accessible areas?
    Possible lead hazards
    Hot Water
Notes: 8

## Slide 9: School Based Centers
.2816 Lead Poisoning Hazards
(a) In child care centers, areas accessible to children shall be free of identified lead poisoning hazards as defined under G.S. 130A-131.7(7)
(b)Drinking water free of identified lead poisoning hazards
Notes: 9

## Slide 10: School Based Centers
Criteria for Lead Investigation
  Child occupied facility
  Pre 1978 construction
  Deteriorated paint conditions
  Referral by authorized agent and/or DCDEE
Notes: 10

## Slide 11: School Based Centers
What areas do we investigate?
  Licensed areas and accessible areas
“LEAD INVESTIGATION IS BASED ON
ACCESSIBILITY”
Notes: 11

## Slide 12: School Based Centers
Inspection protocol
  Areas subject to be inspected in addition to areas designated on floor plan:
    Food prep and food service areas used to meet rule requirements of .2810
      This includes permitted school lunchrooms that serves SBC located on the same campus
Notes: 12

## Slide 13: School Based Centers
  Areas subject to be inspected in addition to areas designated on the floor plan diagram:
    Areas used for CCC storage space
    Non-community water supply well serving the center
    On-site wastewater treatment systems
    Outdoor learning environments and premises
    Solid waste storage areas and can cleaning facilities
Notes: 13

## Slide 14: School Based Centers
Areas to be inspected in addition to areas designated on the floor plan diagram cont.
  Swimming and wading pools
  Areas with potential or identified lead poisoning hazards
  Areas in use by the CCC at the time of inspection
  Routes (e.g., hallways) used to access areas on the floor plan diagram “Flow of kids in the facility”
Notes: 14

## Slide 15: School Based Centers
Inspection protocol
  If dangerous conditions are observed in any area, including areas not subject to inspection, the dangerous conditions should be documented on the comment addendum form and DCDEE should be immediately notified by verbal contact.
Notes: 15

## Slide 16: School Based Centers
Water Supply (.2815e)
Water in areas accessible to children
80 ° -110°F
Burn hazard (accessible to children) excess
of 120°F
Notes: 16

## Slide 17: School Based Centers
FOOD CONCERNS
Kitchen Requirements
  Exception (.2810a)
  Centers located in a school that receives all food supplies prepared and ready to serve from a food service establishment permitted by the local HD which is located at the same school campus and provides food during all hours of operation.
Notes: 17

## Slide 18: Hot Water Not Accessible
2815(e)
  Means of making hot water in kitchen inaccessible per building/fire
  Kitchen not occupied
  Water at least 120 degrees F

## Slide 19: School Based Centers
FOOD CONCERNS CONT.
Food Prep Area (.2810f)
  Easily Cleanable Countertop
  Lavatory
    Water may not be used for consumption
  Adequate refrigeration, when needed
    .2804(k) Lunches sent from home
      PHF Refrigerated in kitchen or food prep area
Food Storage – Bulk vs Individually Packaged
Notes: 19

## Slide 20: School-Based Centers
Special Needs Children
  Privacy Issues
  Feeding Tubes (memo)
Notes: 20

## Slide 21: School Based Center
.2820(e) Storage
  Center within a school
  Use cafeteria to meet kitchen requirements
  .2820(a)-(d)
    Unlocked in the cafeteria’s kitchen
    Provided that the kitchen is kept locked
    Children are not permitted in the kitchen for any purpose

## Slide 22: Exercise
Designated Floor plan includes
  PK Rms 124,125,126,127
  Restrooms located b/w classrooms
  Cafeteria
During your inspection PK children are in Rm 301 art class.
The janitor’s closet (JC) near PK classroom 127 contains chemical storage and is unlocked during your inspection
Rm 109 and multipurpose room is PK storage
Entrance #1, #2 and the main entrance are utilized for pick-ups/drop-offs
Play area is accessed through side entrance #2
Based off the information provided, what is the minimum classification for this inspection?
Based on the provided information below, highlight the areas on the school plan that would be included during your sanitation inspection.
All visited 2-3 times per week by Pre-K and once a week by kindergarten classes:
Rooms 301(art)
Rooms 302 (music)
Auditorium
Multipurpose room
Notes: 22

## Slide 24: Child Care Sanitation Inspection Area Policy Memo 11/15/2005
https://ehs.ncpublichealth.com/hhccehb/cehu/lead/docs/ChildCareSanitationInspectionAreaPolicyMemo-11152005-withReference.pdf