Plan Review Exercise

Name: _____________________________________

Plan Review - Septic Systems and Wells

- Can you locate the well: ______________

- What concerns would you have with the location: ________________________________

______________________________________________________________________________

- Who needs to be involved with well approval: ____________________________________

- What water samples are required: ______________________________________________

- Can you locate the septic system: ______________________________________________

- What additional information is needed: _________________________________________

- Is the septic system properly sized: _____________________________________________

- Is the septic system properly operating: _________________________________________

- Other concerns with septic system: ____________________________________________

- Applicable Rule Sections: ____________________________________________________

Plan Review - Lead in Child Occupied Facilities

- Based on the information provided is there a concern for Lead: ___________________

- What steps should be taken: ___________________________________________________

____________________________________________________________________________________________________________________________________________________________

- Any additional Lead sampling required: _________________________________________

- Applicable Rule Sections: ____________________________________________________

Plan Review - Kitchen Area

- Was the application completed correctly? If not, explain why.

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Was all necessary documentation submitted? If not, explain why.

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Is kitchen equipment specification complete and all equipment identified on plan? If not, explain why.

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Does plan show all required kitchen equipment? If not, explain why.

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- What additional recommendations would you make?

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

- What additional information would you need, if any to approve this plan?

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Plan Review – Food Preparation Areas

Based on the floor plan provided for INFANT ROOM #1 answer the following:

- Would you approve this food preparation area? If not, explain why.

____________________________________________________________________________________________________________________________________________________________

- Does this food preparation area meet all the requirements? Explain.

____________________________________________________________________________________________________________________________________________________________

- Based on the information provided, are there any specific restrictions/concerns you have about the food preparation activities in this room?

____________________________________________________________________________________________________________________________________________________________

- Could the teacher in this classroom assemble tacos in this classroom, why or why not?

____________________________________________________________________________________________________________________________________________________________

- Could baby food jars be opened in this room? ___________________________________

- Could frozen human milk be stored in this room? ________________________________

- Could baby bottles be warmed in a bottle warmer in this room? ___________________

Based on the floor plan provided for INFANT ROOM #2 answer the following:

- Would you approve this food preparation area? If not, explain why.

______________________________________________________________________________________________________________________________________________________

- Does this food preparation area meet all the requirements? Explain.

____________________________________________________________________________________________________________________________________________________________

- Based on the information provided, are there any specific restrictions/concerns you have about the food preparation activities in this room?

____________________________________________________________________________________________________________________________________________________________

- Could the teacher in this classroom assemble tacos in this classroom, why or why not?

____________________________________________________________________________________________________________________________________________________________

- Could baby food jars be opened in this room? ___________________________________

- Could frozen human milk be stored in this room? ________________________________

- Could baby bottles be warmed in a bottle warmer in this room? ___________________

Based on the floor plan provided for INFANT ROOM #3 (TODDLER ROOM) answer the following:

- Would you approve this food preparation area? If not, explain why.

____________________________________________________________________________________________________________________________________________________________

- Does this food preparation area meet all the requirements? Explain.

____________________________________________________________________________________________________________________________________________________________

- Based on the information provided, are there any specific restrictions/concerns you have about the food preparation activities in this room?

____________________________________________________________________________________________________________________________________________________________

- Could the teacher in this classroom assemble tacos in this classroom, why or why not?

____________________________________________________________________________________________________________________________________________________________

- Could baby food jars be opened in this room? ___________________________________

- Could frozen human milk be stored in this room? ________________________________

- Could baby bottles be warmed in a bottle warmer in this room? ___________________

Plan Review – Diaper Changing Areas

Based on the floor plan provided for INFANT ROOM #1 answer the following:

- Would you approve this diaper changing area? If not, explain why.

____________________________________________________________________________________________________________________________________________________________

- Does this diaper changing area meet all the requirements? Explain.

____________________________________________________________________________________________________________________________________________________________

- Based on the information provided, what options could you provide for the facility to have an approved diaper changing area if one is not provided?

____________________________________________________________________________________________________________________________________________________________

Based on the floor plan provided for INFANT ROOM #2 answer the following:

- Would you approve this diaper changing area? If not, explain why.

____________________________________________________________________________________________________________________________________________________________

- Does this diaper changing area meet all the requirements? Explain.

____________________________________________________________________________________________________________________________________________________________

- Based on the information provided, what options could you provide for the facility to have an approved diaper changing area if one is not provided?

____________________________________________________________________________________________________________________________________________________________

Based on the floor plan provided for INFANT ROOM #3 answer the following:

- Would you approve this diaper changing area? If not, explain why.

____________________________________________________________________________________________________________________________________________________________

- Does this diaper changing area meet all the requirements? Explain.

____________________________________________________________________________________________________________________________________________________________

- Based on the information provided, what options could you provide for the facility to have an approved diaper changing area if one is not provided?

____________________________________________________________________________________________________________________________________________________________